## Sheet1
Test | Tube | Remarks | Minimum Sample Volume (Pipetting Volume) in µl | Required Dead Volume in µl | Group
Anti Xa Heparin monitoring | Coagulation | Exactly 4h after Lovenox administration! (Or with complete coagulation) | 10 |  | Coagulation
AT III | Coagulation |  | 21 |  | Coagulation
D-Dimer | Coagulation |  | 15 | 100 | Coagulation
Fibrinogen | Coagulation |  | 10 |  | Coagulation
Coagulation factor XIII (13) | Coagulation |  | 20 | 100 | Coagulation
Coagulation factor VIII (8) | Coagulation |  | 15 | 100 | Coagulation
Coagulation factor IX (9) | Coagulation |  | 15 | 100 | Coagulation
Protein C | Coagulation | Only Mon-Fri. | 15 | 100 | Coagulation
Protein S free | Coagulation | Only Mon-Fri. | 21 | 100 | Coagulation
Protein S-Activity | Coagulation | Determined only once a week, otherwise deep-frozen in ZL | 25 | 100 | Coagulation
aPTT | Coagulation |  | 50 | 100 | Coagulation
PT (incl. INR) | Coagulation |  | 50 | 100 | Coagulation
Leukocyte typing | EDTA | Announce by phone incl. question | 526 | 270 | Hematology
Creatinine in urine | Urine tube |  | 2 | 100 | Urinalysis
Copper in 24h urine | Urine tube | Indication of total urine volume collected in 24h with 1ml urine to ZL - No preservation (done once a week) | 50 | 500 | Urinalysis
Urine protein pattern (Albumin, Alpha1-microglobulin, Alpha2-macroglobulin, IgG and Creatinine in urine) | Urine tube |  | 323 | 100 | Urinalysis
Osmolarity in urine | Urine tube | Outside routine hours, please use form Referral for measurement of osmolarity in serum/urine outside routine hours. | 200 | 100 | Urinalysis
Alpha-1 Antitrypsin | Heparin-Plasma |  | 9 | 50 | Immunology
Hepatitis B c-AB (IgM / IgG) | Serum |  | 300 | 100 | Infectious Diseases
Hepatitis B e-AB / AG | Serum |  | 300 | 100 | Infectious Diseases
Hepatitis B s-Antigen | Serum |  | 200 | 100 | Infectious Diseases
Hepatitis B s-Antibody | Serum |  | 150 | 100 | Infectious Diseases
Hepatitis A-IgG / IgM | Serum |  | 150 | 100 | Infectious Diseases
Hepatitis C-AB IgG/IgM | Serum |  | 150 | 100 | Infectious Diseases
Hepatitis Serology | Serum | V- Doctors usual US → Signature 1x full serum tube | 1500 | 100 | Infectious Diseases
HIV-AB | Serum |  | 150 | 100 | Infectious Diseases
Toxoplasmosis AB (IgG +IgM) | Serum |  | 300 | 100 | Infectious Diseases
Ammonia (= NH³) | EDTA | Place on ice IMMEDIATELY and send | 17 | 50 | Clinical Chemistry
Albumin in serum | Heparin-Plasma |  | 2 | 50 | Clinical Chemistry
Aldolase | Heparin-Plasma |  | 400 | 0 | Clinical Chemistry
Alkaline Phosphatase | Heparin-Plasma |  | 2.8 | 50 | Clinical Chemistry
Alcohol level | Heparin-Plasma |  | 4 | 50 | Clinical Chemistry
Amylase in blood | Heparin-Plasma |  | 4 | 50 | Clinical Chemistry
ASL-Antistreptolysin- Titer | Heparin-Plasma |  | 2 | 100 | Clinical Chemistry
Bilirubin direct | Heparin-Plasma | Light protection of the tube would be optimal | 6.7 | 50 | Clinical Chemistry
Bilirubin total | Heparin-Plasma | Light protection of the tube would be optimal | 2 | 50 | Clinical Chemistry
Caeruloplasmin | Heparin-Plasma |  | 15 | 100 | Clinical Chemistry
Cholesterol | Heparin-Plasma |  | 2 | 100 | Clinical Chemistry
Cholinesterase | Heparin-Plasma |  | 2 | 100 | Clinical Chemistry
CPK = CK | Heparin-Plasma |  | 2.8 | 100 | Clinical Chemistry
CRP | Heparin-Plasma |  | 2 | 100 | Clinical Chemistry
Cystatin C | Heparin-Plasma | Only Mon. - Fri. Not possible in urine | 2 | 100 | Clinical Chemistry
Serum-Iron | Heparin-Plasma |  | 8.5 | 100 | Clinical Chemistry
Transferrin saturation | Calculated | Calculated analysis (request serum iron and transferrin) | 0 | 0 | Clinical Chemistry
Ferritin | Heparin-Plasma |  | 10 | 100 | Clinical Chemistry
Transferrin | Heparin-Plasma |  | 9 | 100 | Clinical Chemistry
Free Hemoglobin | Heparin-Plasma | also possible from EDTA-plasma | 2 | 100 | Clinical Chemistry
Haptoglobin | Heparin-Plasma |  | 9 | 100 | Clinical Chemistry
ACE - Angiotensin converting enzyme | Serum |  | 18 | 50 | Clinical Chemistry
Alpha 1-Fetoprotein (AFP) | Serum |  | 6 | 50 | Clinical Chemistry
Uric acid | Heparin-Plasma |  | 3 | 100 | Clinical Chemistry
Homocysteine | EDTA | No vitamin intake in the last 3d: Immediately cooled to ZL | 20 | 150 | Clinical Chemistry
Interleukin 6 (Venous or umbilical cord blood) | Heparin-Plasma | For umbilical cord blood, check IL6 Cordal blood | 18 | 100 | Clinical Chemistry
Creatinine (+eGFR) in blood | Heparin-Plasma |  | 3 | 100 | Clinical Chemistry
Lactate in blood (Fluoride tube) | Fluoride tube |  | 2 | 100 | Clinical Chemistry
LDH | Heparin-Plasma |  | 2.8 | 100 | Clinical Chemistry
GOT | Heparin-Plasma |  | 9 | 100 | Clinical Chemistry
GPT | Heparin-Plasma |  | 9 | 100 | Clinical Chemistry
Gamma-GT | Heparin-Plasma |  | 3 | 100 | Clinical Chemistry
Alkaline Phosphatase | Heparin-Plasma |  | 3 | 100 | Clinical Chemistry
Lipoprotein(a) | Heparin-Plasma |  | 2 | 100 | Clinical Chemistry
Myoglobin | Heparin-Plasma | Or together with other parameters | 9 | 100 | Clinical Chemistry
NSE (neurospecific enolase) | Serum |  | 12 | 100 | Clinical Chemistry
S100 | Serum |  | 12 | 100 | Clinical Chemistry
NT-proBNP | Heparin-Plasma |  | 9 | 100 | Clinical Chemistry
Procalcitonin (PCT) | Heparin-Plasma |  | 18 | 100 | Clinical Chemistry
Rheumatoid factor | Heparin-Plasma |  | 3 | 100 | Clinical Chemistry
Osmolarity in serum | Serum | Outside routine hours, please use form Referral for measurement of osmolarity in serum/urine outside routine hours. | 200 | 100 | Clinical Chemistry
Transferrin Receptor soluble | Heparin-Plasma |  | 2 | 100 | Clinical Chemistry
Triglycerides | Heparin-Plasma |  | 2 | 100 | Clinical Chemistry
Troponin hs | Heparin-Plasma |  | 30 | 100 | Clinical Chemistry
CMV PCR in CSF | CSF tube |  | 500 | 100 | CSF analyses
Covid PCR in Blood | EDTA |  | 1000 | 100 | Molecular Biology
CMV PCR in blood | EDTA |  | 500 | 100 | Molecular Biology
CMV PCR in urine | Urine tube |  | 500 | 100 | Molecular Biology
HBV DNA / HBV-PCR > quantitative | Serum |  | 300 | 100 | Molecular Biology
HCV RNA / HCV-PCR > quantitative | Serum |  | 600 | 100 | Molecular Biology
HIV RNA / HIV-PCR | EDTA |  | 600 | 100 | Molecular Biology
RSV PCR | Nasal, throat or tracheal secretion |  |  |  | Molecular Biology
UGT1A1-Polymorphism | EDTA | Genetic reverse needed, Result takes about 1 week | 200 | 100 | Molecular Biology
Electrolytes (Na, K, Cl, Ca, P, Mg) in 24h urine | Urine tube | Na/K/Cl: 10-15 / Ca: 2 / Phosphorus: 15 / Magnesium: 14 Include urine collection volume/24h" | 50 | 100 | Panels
Electrolytes (Na, K, Cl, Ca, P, Mg) in spot urine | Urine tube | Na/K/Cl: 10-15 / Ca: 2 / Phosphorus: 15 / Magnesium: 14 | 50 | 100 | Panels
C3 Complement | Heparin-Plasma |  | 9 | 50 | Proteindiagnostics
C4 Complement | Heparin-Plasma |  | 15 | 50 | Proteindiagnostics
Beta-2-Microglobulin in blood | Serum | No 24h urine collection needed | 50 | 100 | Proteindiagnostics
Serum-Electrophoresis | Serum |  | 10 | 150 | Proteindiagnostics
Albumin / Creatinine - Ratio | Calculated | Calculated analysis (request albumin and creatinine in urine) | 0 | 0 | Proteindiagnostics
Protein / Creatinine - Ratio | Calculated | Calculated analysis (request protein and creatinine in urine) | 0 | 0 | Proteindiagnostics
Immunoglobulins IgM, IgA, IgG, | Serum |  | 200 | "100 " | Proteindiagnostics
Immunoglobulin IgE | Serum |  | 50 | 100 | Proteindiagnostics
Copper in plasma | Heparin-Plasma |  | 50 | 100 | Special Tests
Zinc in plasma | Heparin-Plasma | Done once a week | 50 | 100 | Special Tests
Elastase in stool (Pancreatic elastase) | Stool tube |  | 1g | 1.5g | Special Tests
Insulin Determination | Heparin-Plasma? | Fasting! send immediately NOT at night/weekend | 90 | 50 | Special Tests
Lamictal Level (Lamotrigine) | Serum |  | 100 | 150 | Toxicology
Caffeine Level from Heparin-Plasma | Heparin-Plasma | "Single determination: Serum With other parameters: together in Heparin-Plasma" | 2 | 100 | Toxicology
Alprazolam level | Serum |  | 100 | 150 | Toxicology
CDG Screening | Serum |  | 100 | 150 | Toxicology
Clozapine Level | Serum |  | 100 | 150 | Toxicology
Bile acid | Serum (Light protected!!) | Sample is only examined on Thursdays! | 150 | 50 | Toxicology
Drug detection in meconium | Stool tube | Preferably on 1st LT and first meconium | 1g | 1.5g | Toxicology
Keppra level (Levetiracetam) | Serum | Only Monday and Wednesday! Collect before 10 am | 100 | 150 | Toxicology
Refobacin (Gentamycin) | Serum |  | 2 | 100 | Toxicology
Tacrolimus level | EDTA |  | 400 | 100 | Toxicology
Targocid-Level (Teicoplanin) | Serum | "Trough level Determination daily during routine times, on holidays and weekends until 12:00h" | 150 | 50 | Toxicology
Theospirex-Level (Theophylline) | Serum | Trough level. Note on chart if peak level | 2 | 100 | Toxicology
Topamax level = Topiramate level | Serum | "Only determined once per week → Thursday If sent earlier, sample will be frozen in lab" | 150 | 50 | Toxicology
Valproic acid (Depakene) | Serum | Under Anticonvulsants | 2 | 100 | Toxicology
Vitamin A + E | Serum |  | 200 | 550 | Toxicology
Vitamin B12 | Serum |  | 100 | 50 | Toxicology
Vitamin B1-B6 | EDTA |  | 200 | 300 | Toxicology
Zyvoxid level (Linezolid) | Serum | "Only Tue and Thu, must be in lab before 07.00 am" | 100 | 150 | Toxicology
Digoxin-Level | Heparin-Plasma | Collection 12 hrs after last dose, note on form | 6 | 100 | Toxicology